CORRIGENDUM No: 1

to the

CONTRACT NOTICE

Publication Ref: RORS 284/Cityof Kikinda/TD2

- Subject: Procurement of ambulance vehicles and medical equipment

Location: Kikinda – North Banat district/Autonomous Province of Vojvodina/Republic of Serbia

The contract notice is corrected or modified as follow:

- Point n° 11: Annex II+III (Technical specifications + Technical offer) LOT 2

Instead of:

Non-Invasive Ventilation BiPAP Machine (1 pcs)

- Ventilation Modes: S, ST, T, PSV, PCV+A , CPAP Adult/Peadiatric >10kg

- Displayed data: Ppeak, EPAP, Leakage, MV, Vte % in TgV, Total Rate I:E, Spont Rate, % spont, Inspiratory time, Rise time, SpO2, Pulse, Rate

- device possess bottle reducer, device and bottle holder, patient hose, power adapters (220V AC and 12-24V DC)

Read:

Non-Invasive Ventilation BiPAP Machine (1 pcs)

- Ventilation Modes: S, ST, T, PSV, PCV+A , CPAP Adult/Peadiatric >10kg

- Displayed data: Ppeak, EPAP, Leakage, MV, Vte % in TgV, Total Rate I:E, Spont Rate, % spont, Inspiratory time, Rise time, SpO2, Pulse, Rate

- device possess device holder, patient hose, power adapters (220V AC and 12-24V DC)

- Point n°1 and 2:  Annex II+III (Technical specifications + Technical offer) LOT 1

Instead of:

- foldable cardiology chair with min. 4 wheels and 4 carrying handles (front telescopic handles), foldable footrest, foldable legs rest, straps for fixing the patient (appropriately packed and fixed in patient area)

Read:

- foldable cardiology chair with min. 4 wheels and 4 carrying handles (front telescopic handles), foldable footrest, straps for fixing the patient (appropriately packed and fixed in patient area)

All other terms and conditions of the contract notice remain unchanged. The above alterations and /or corrections to the contract notice are integral part of the contract notice.